# Clarifications on Chapter 7.3 Methane Emissions during the Pyrolysis Process

## Global Biochar C-Sink Standard (2024)

### Initial Situation

Chapter 7.3. of Global Biochar C-Sink Standard (2024) defines that: ”[…] at least two CH4-emission tests per pyrolysis unit with the same feedstock representing the typical operation of the unit are required, or the pyrolysis unit must have a type certification according to EBC or WBC.”

It further states that: “For CH4 emission tests, a detailed measurement strategy with precise details of the measurement technology, measurement intervals, and measurement accuracy must be submitted in advance to Carbon Standards for review. Once the procedures are accepted, the methane emissions factor of the pyrolysis unit is calculated as the mean of the two measurements plus one standard deviation as the margin of security.”

Many producers find it challenging to find a suitable agency for measurements. For this reason, we developed the following rules on using proxy emission values that are easier to determine. Especially the rule update point 4, using CO as a proxy, should facilitate the task for many producers.

Carbon Standards International recommends that producers measure CH₄ emissions directly. Given the inherent uncertainties of proxies, safety margins are significantly higher when CH₄ emissions are calculated from proxies rather than measured directly.

**Clarifications**

1. Methane measurement strategy must be submitted in advance to Carbon Standards for review.
2. Two independent measurements of at least 1 hour have to be conducted. It may be necessary to adapt this specification for batch systems.
3. Next to methane, the followering parameters have to be measured:
   1. feedstock input flow (DM)
   2. biochar output flow (DM)
   3. exhaust gas volume flow
   4. CO concentration
4. Measurements should be conducted at regular operation.

### Rule Update

1. If CH4 emission values are available, these are used for the certification. The CH4 emission factor shall be calculated as mean + standard deviation + expanded uncertainty.
2. If no CH4 but the CxHy value is available from flue gas measurements, the CH4 value is set equal to the CxHy value. CxHy includes CH4 emissions but also numerous other compounds, which are usually less abundant than CH4 in the burnt exhaust gas. The CH4 emission factor shall be calculated as mean + standard deviation + expanded uncertainty of the CxHy measurement.
3. If no CH4 or CxHy but the TOC value is available from the flue gas measurements, the CH4 value is set equal to the TOC value. TOC emission factors include CH4 emissions but also numerous other organic compounds, which are usually less abundant than CH4 and other CxHy molecules in the burnt exhaust gas. The TOC emission factor is usually expressed in g C (gram carbon) and has to be multiplied with 16/12 to account for the difference in molar weights between C and CH4 and thus to translate it into g CH4. The CH4 emission factor shall be calculated as mean + standard deviation + expanded uncertainty of the TOC measurement.
4. In the absence of CH4, VOC, CxHy, and TOC measurements of the flue gas, it can be conservatively assumed that the CH4 value is not higher than 50% of the CO value. Therefore, the CH4 value to be offset is set to 50 % of the CO emission factor (g kg-1 biochar). The CO emission factor shall be calculated as mean + standard deviation + expanded uncertainty. For this approach, however, O2, CO2, and CO flue gas concentrations must be provided.
5. If the expanded uncertainty is not provided, a 20% security margin must be applied to the sum of mean and standard deviation.

### Reasoning

1. The relative abundance of CH4 to CO in unburnt pyrolysis gas has been documented in the literature and is relatively constant. The CH4:CO ratio (g g-1) is, on average, 1:5 (0.2 g g-1), with a maximum value of 1:2.5 (0.41 g g-1) found in the literature (Table 1).
2. During combustion, the ratio of CH4 to CO is expected to shift towards CO, if the pyro-gas is combusted with temperatures above 1000 °C. The assumption that the CH4 to CO ratio of the non-oxidized pyrogas is maintained throughout combustion is considered the highly unlikely worst case. The assumption that the CH4 to CO is always below 0.5 g CH4 g-1 CO is thus conservative.

### Background Information

The composition of unburnt pyrolysis gases can deliver valuable insights into potential (worst case) methane emissions caused during pyrolysis if pyrolysis gas is not combusted properly. The physicochemical properties of the feedstocks and the pyrolysis reactions set boundaries to the potential methane emissions produced during pyrolysis. A literature review including various biomass feedstocks reveals the following carbonaceous gas concentrations and ratios between CO and CH4 for unburnt pyrolysis gases (Table 1). A certain trend can be observed for CH4 to CO ratios. There are usually (mean ± standard deviation) 0.35 ± 0.15 CH4 molecules per CO molecule. This molar ratio represents a ratio of 0.2 g CH4 per g CO (± 0.09 g g-1) in the unburnt pyrolysis gas.

Table 1: Overview of unburnt pyrolysis gas composition ratios for CO and CH4.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Study | Temp. °C | Feedstock | Mol. Ratio CH4:CO | Emission factor Ratio CH4:CO  [g g-1] |
| Amini et al. 2019 | 400-800 | dead biomass, leaves, twigs, grasses | 0.34 | 0.20 |
| Park et al. 2014 | 500 | rice straw | 0.27 | 0.15 |
| Park et al. 2014 | 600 | rice straw | 0.40 | 0.23 |
| Park et al. 2014 | 700 | rice straw | 0.42 | 0.24 |
| Fu et al. 2011 | 600 | Maize stalk, rice straw, cotton straw and rice husk | 0.29 | 0.17 |
| Fu et al. 2011 | 700 | Maize stalk, rice straw, cotton straw and rice husk | 0.27 | 0.15 |
| Fägernas et al. 2012 | 450 | birch hardwood | 0.20 | 0.11 |
| Waheed et al. 2013 | 750 | Wood, rice husk, forest residue | 0.26 | 0.15 |
| Dutta 2023 |  |  | 0.15 | 0.09 |
| Encinar et al. 2000 | 500 | Cynara cardunculus | 0.24 | 0.14 |
| Encinar et al. 2000 | 600 | Cynara cardunculus | 0.30 | 0.17 |
| Encinar et al. 2000 | 700 | Cynara cardunculus | 0.29 | 0.16 |
| Manya et al. 2018 | 600 | Vine pruning, corn stover, olive mill waste | 0.58 | 0.33 |
| Dunnigan et al. 2018 | 500-800 | grape pruning | 0.71 | 0.41 |
| Dunnigan et al. 2018 | 500-800 | rice husk | 0.18 | 0.10 |
| Flatabo et al. 2023 | 500-800 | waste timber | 0.52 | 0.30 |
| Flatabo et al. 2023 | 500-800 | commercial wood pellets | 0.51 | 0.29 |
| Moltó et al. 2020 | 600-950 | starch PVA films | 0.45 | 0.26 |
| Moreno and Font, 2015 | 500 | Solid wood and wood waste | 0.18 | 0.10 |
| MEAN |  |  | 0.35 | 0.20 |
| SD |  |  | 0.15 | 0.09 |

While an increase of the CH₄ to CO ratio in the flue gas after combustion of the pyrolysis gas is theoretically possible, it is only plausible under highly fuel-rich, low-temperature conditions with limited oxygen. In most real-world combustion scenarios, CO would oxidize faster than CH₄, meaning the ratio would either stay the same or shift in favor of more CO, not CH₄. In order to ensure it, the following conditions have to be met:

1. Sufficient oxygen is provided in the combustion chamber to ensure oxidative conditions. This can be deducted from O2 or CO2 levels in the flue gas stream. O2 levels should be above 5 %, the air excess ratio above 1.2.
2. Temperatures during combustion must be higher than 1000 °C to ensure the activation energy required for CH4 oxidation is available.

Accounting for a) a high CH4 to CO ratio (0.5 g CH4 g-1 CO) in the pyro-gas and b) ensuring that high temperatures and sufficient oxygen are available during combustion we can conservatively assume that the CH4 value is not higher than 50% of the CO value in the flue gas composition of pyrolysis plants.

**References**

Amini, Elham; Safdari, Mohammad-Saeed; DeYoung, Jonathan T.; Weise, David R.; Fletcher, Thomas H. (2019): Characterization of pyrolysis products from slow pyrolysis of live and dead vegetation native to the southern United States. In: Fuel 235, S. 1475–1491. DOI: 10.1016/j.fuel.2018.08.112.

Dunnigan, Lewis; Morton, Benjamin J.; Ashman, Peter J.; Zhang, Xiangping; Kwong, Chi Wai (2018): Emission characteristics of a pyrolysis-combustion system for the co-production of biochar and bioenergy from agricultural wastes. In: Waste management (New York, N.Y.) 77, S. 59–66. DOI: 10.1016/j.wasman.2018.05.004.

Dutta, Abhijit (2023): Process Considerations for the Production of Hydrogen via Steam Reforming of Oxygenated Gases from Biomass Pyrolysis and Other Conversion Processes. In: Advanced Sustainable Systems, Artikel 2300241. DOI: 10.1002/adsu.202300241.

Encinar, J.M; González, J.F; González, J. (2000): Fixed-bed pyrolysis of Cynara cardunculus L. Product yields and compositions. In: Fuel Processing Technology 68 (3), S. 209–222. DOI: 10.1016/S0378-3820(00)00125-9.

Fagernäs, Leena; Kuoppala, Eeva; Tiilikkala, Kari; Oasmaa, Anja (2012): Chemical Composition of Birch Wood Slow Pyrolysis Products. In: Energy Fuels 26 (2), S. 1275–1283. DOI: 10.1021/ef2018836.

Flatabø, Gudny Øyre; Cornelissen, Gerard; Carlsson, Per; Nilsen, Pål Jahre; Tapasvi, Dhruv; Bergland, Wenche Hennie; Sørmo, Erlend (2023): Industrially relevant pyrolysis of diverse contaminated organic wastes: Gas compositions and emissions to air. In: Journal of Cleaner Production 423, S. 138777. DOI: 10.1016/j.jclepro.2023.138777.

Fu, Peng; Yi, Weiming; Bai, Xueyuan; Li, Zhihe; Hu, Song; Xiang, Jun (2011): Effect of temperature on gas composition and char structural features of pyrolyzed agricultural residues. In: Bioresource Technology 102 (17), S. 8211–8219. DOI: 10.1016/j.biortech.2011.05.083.

Manyà, Joan J.; Azuara, Manuel; Manso, José A. (2018): Biochar production through slow pyrolysis of different biomass materials: Seeking the best operating conditions. In: 0961-9534 117, S. 115–123. DOI: 10.1016/j.biombioe.2018.07.019.

Moltó, J.; López-Sánchez, B.; Domene-López, D.; Moreno, A. I.; Font, R.; Montalbán, M. G. (2020): Pollutant emissions during the pyrolysis and combustion of starch/poly(vinyl alcohol) biodegradable films. In: Chemosphere 256, S. 127107. DOI: 10.1016/j.chemosphere.2020.127107.

Moreno, Ana Isabel; Font, Rafael (2015): Pyrolysis of furniture wood waste: Decomposition and gases evolved. In: Journal of Analytical and Applied Pyrolysis 113, S. 464–473. DOI: 10.1016/j.jaap.2015.03.008.

Park, Jinje; Lee, Yongwoon; Ryu, Changkook; Park, Young-Kwon (2014): Slow pyrolysis of rice straw: analysis of products properties, carbon and energy yields. In: Bioresource Technology 155, S. 63–70. DOI: 10.1016/j.biortech.2013.12.084.

Waheed, Q. M. K.; Nahil, M. A.; Williams, P. T. (2013): Pyrolysis of waste biomass: investigation of fast pyrolysis and slow pyrolysis process conditions on product yield and gas composition. In: Journal of the Energy Institute 86 (4), S. 233–241. DOI: 10.1179/1743967113Z.00000000067.